POST GRADUATE DEPARTMENT OF ZOOLOGY

UNIVERSITY OF KASHMIR

Tender notice

Sealed tenders affixed with revenue stamps of Rs. 10/= in a two bid system are invited from the reputed suppliers/authorized distributors from University for the supply of equipments. The quotation along with the CDR of Rs 5,000/= pledged to Head, Department of Zoology, should reach the office of the u/s by before 10-01-2019 up to 4:00 P.M. The nature of equipments with desired specification is displayed on both the university website www.kashmiruniversity.net as well as departmental website http://zoology.uok.edu.in

Sd/

Head of the Department

No.: PGZ/Tender/Eq.

Dated: 20/12/2018

Department of Zoology, University of Kashmir

List of Equipments alongwith specifications for the financial Year 2018-19

| Sr. No. | Name of the Equipment | Specification |
| --- | --- | --- |
| 1. | Digital Camera for Microscopes | Digital Camera for Microscopes 5 M.P or above with USB Port & software for calibration, editing in pictures and live videos and display of pictures should be on laptops and projectors to help the students and researchers. |
| 2. | Digital Camera for wildlife photography | 16 MP, Low light CMOS Sensor 83x Zoom lens |
| 3. | Binoculars | 10 X 50 |
| 4. | Range Finder | 30 X 50, Range up to 100 ft. |
| 5. | L.C.D. Digital Microscope | LCD Screen as an eye piece, Built with high resolution camera, USB Port TV output for display on large monitors, Magnification 40 X 1600 X. |
| 6. | Spectrophotometer (Digital) | UV-Vis. Double Beam Spectrophotometer, nm range: 190 nm to 1100 nm. |
| 7. | Digital Hot Air oven | Capacity 200 Ltrs. reputed Brand Temperature 0-250 oC internal S.S with adjustable shelves. |
| 8. | GPS | Imported |

Terms and conditions:

- The tenders submitted without relevant document, such as CDR, GST certificate shall not be entertained.

- The rate quoted shall be inclusive of all taxes, levies and fright up to the site of installation (Department of Zoology, University of Kashmir).

- Installation and training shall be carried out free of cost, after which bill shall be processed.

- Make, Model No., Specification and Warranty period including support and services should be clearly indicated in the tender documents.

- The purchase committee of this Department has the right to cancel any tender without assigning any reason.

Sd/

Head of the Department